## Slide 1: Unique Device Identification Update – FDA and GHTF
Jay Crowley
Senior Advisor for Patient Safety
Food and Drug Administration
jay.crowley@fda.hhs.gov
301-980-1936

## Slide 2: UDI Can Improve… Visibility
Medical device recalls
Adverse event reporting and postmarket surveillance
Tracking and tracing, supply chain security; and anti-counterfeiting/diversion (location systems)
Comparative effectiveness (e.g., registries)
Disaster/terror preparation and shortages/substitutions
Reduce medical errors
Documenting medical device use in patient’s EHR/PHR, hospital information systems, claims data
Sentinel Initiative - strengthening FDA’s ability to query data systems for relevant device information

## Slide 3: Medical Device Identification
Develop a system to identify medical devices, which is:
Consistent
Unambiguous (differentiates among all dimensions)
Standardized
Unique at all levels of packaging
Harmonized internationally
And facilitates the:
Storage,
Exchange, and
Integration of data and systems

## Slide 4: Future Information Lifecycle
Distributor
Hospital
EHR
Population databases
Surveillance
Recall
Manufacturer
Registries
Clinical Use
Re/order
Safe?
Recalled?
UDI
Device X
Lot/serial Y
Exp Date Z
Reimbursement
Expiration date?
Counterfeit
AE reporting
Closed System
Effectiveness
Notes: All using UDI to exchange/connect data and data systems

## Slide 5: Balanced Approach
Specific
Tell me how and when
Select a UDI standard
Select an auto-ID standard
Describe application for every device
Implementation
Require participation
Flexible
Allow SSOs/stakeholders to develop best approach
Based on UDI Standards
UDI Placement
Various AIDC standards
Use on different devices
Application/integration
Data attributes

## Slide 6: Medical Devices Include…
A very wide range of medical products – such as:
Traditional hospital based devices (beds, ventilator)
Implants
In vitro diagnostic devices (IVDs) – both clinical lab and Point of Care (POC).
Health Information Technology (HIT) – e.g., EHRs
Stand-alone software
Convenience kits
Combination products
Used in alternative sites – e.g., homecare, dental

## Slide 7: GHTF UDI ADWG
Formed October 2008
EC Chair (Laurent Selles)
Members US (FDA, AdvaMed), Europe (EC, Eucomed, EDMA), Japan, Canada
AHWP recently joined (China)
Public Document – available at: www.ghtf.org/documents/AHWG-PD1-N2R1.doc
Washington April 2010; Brussels June 2010; Ottawa September 2010
Final guidance submitted to Nov 2010 SC meeting
6 month comment period

## Slide 8: FDA Amendments Act of 2007
  September 27, 2007, the FDAAA signed into law:
  The Secretary shall promulgate regulations establishing a unique device identification system for medical devices requiring the label of devices to bear a unique identifier, unless the Secretary requires an alternative placement or provides an exception for a particular device or type of device. The unique identifier shall adequately identify the device through distribution and use, and may include information on the lot or serial number.

## Slide 9: Establishing a UDI System
Combination of 4 distinct steps:
Develop a standardized system to develop the unique device identifiers (UDI)
Place the UDI in human readable and/or AutoID on a device, its label, or both
Create and maintain the UDI Database
Adoption and Implementation

## Slide 10: 1st – Developing the UDI
  Develop UDI code according to ISO 15459 [GS1, HIBCC]
  Created and maintained by the manufacturer
  Concatenating Device and Production Identifier
  Device Identifier (DI): [static] Manufacturer, make, model [i.e., each catalogue number]
  Production Identifier (PI): [dynamic] however product is currently controlled – serial, lot number; expiration, manufacturing date

## Slide 11: Risk-based Approach
Production identifier reflects current control (label) – not requiring serialization.
Granularity of marking based on risk of device -
  UDI for some devices on multi-packs or higher levels of packaging
Not all devices require production identifiers
Take into account realities of retail environment

## Slide 12: 2nd – UDI Application
  • Unique UDI applied to all levels of packaging, down to the lowest level (patient use/ unit of use)
  • Human readable and/or encoded in a form of automatic identification technology
  Direct Part Marking (DPM) for some devices
  No specific technology would be identified (technology neutral)
  Identify a series of standards (linear barcode, 2-dimensional barcode, RFID)

## Slide 13: UDI Application Example

## Slide 14: UDI Application Example

## Slide 15: UDI Application Example

## Slide 16: UDI Application - DPM
  Where feasible – DPM required for:
  Reusable/re-sterilized devices
  Long-term implants
  Stand-alone software
  Manufacturers can decide not technologically feasible.

## Slide 17: Combination Products and Kits
Each combination product with device PMOA has its own UDI.
Each kit (devices only) has its own UDI
Each separable device constituent part of a combination product gets its own UDI.
Each device in a kit gets its own UDI

## Slide 18: 3rd - UDI Database Development
Device Identifier Type/Code [GTIN, HIBCC]
Make/model; Brand/Trade Name; Size; Description
Device model number (or reference number)
Unit of Measure/Packaging level/quantity
Controlled by – Lot and/or Serial Number; Exp. Date
Contact name, phone, email
GMDN Classification code/term
Storage condition; Single Use; Sterility
Contains known, labeled allergen (e.g., latex)
FDA premarket authorization (510k, PMA)
FDA Listing Number

## Slide 19: Focus on Master Data
Data duplication
Stove-piped data boundaries
Lack of common data definitions
Data sharing problems

## Slide 20: Focus on Master Data
Agreed to, standard critical business data that can be shared across systems.
Virtual or actual integration
Policies and procedures for creation, access, update, and management of central resource.
Emphasis on data quality, integration, single version of the truth, data stewardship.
MDM is complementary to data warehousing and business intelligence

## Slide 21
Device Identifier: GS1 2081090010024
Endopath Dextrus Finger Mounting Locking Forceps
Ethicon Endo-Surgery Inc, Cincinnati, Ohio
Jane Smith; 1-888-888-8888; JSmith@JNJ.com
Controlled by Lot; Expiration Date
Packaged sterile; Single Use; Prescription
GMDN code: 12345; 510k: K982013
Package of 1; Storage conditions: between 0-24º C
Does not contain latex or PVC

## Slide 22: FDA’s UDI Database
Distribution
Web based tool
Business
Rules
Manufacturer
(Acme)
GSI GDSN
The label of Medical Device 123 Size 45:
Device Identifier (Device XYZ123)
Production Identifier (Lot #ABC)
Expiration date (MMDDYYYY)
Sterile; Latex free
FDA eList
Minimum Data Set
For each Device Identifier:
Manufacturer and model
GMDN Code
Other attributes
or
or
FDA’s UDI
Database
FDA
FDA Managed
Public User Interface
HL7 SPL

## Slide 23: Business Rules for UDID
Identify base packaging
Validate that all of the DIs are unique
Validate that all required fields are appropriately complete
Check that the listing number is valid
If changes to any attribute, require new DI
Check for appropriate groupings of higher-levels of packaging

## Slide 24: Implementation
Based on premarket risk class:
  class III – 12 months after final rule
  class II – 36 months after final rule
  class I – 60 months after final rule
Allows stakeholders to jointly learn and for mid-course corrections
Phase out national numbering system (NDC/NHRIC)
Robust alternate placement and exception process
Expect manufacturers and groups of manufacturers to submit requests – results of which will posted.

## Slide 25: HL7 SPL
  Working with HL7 SPL r5 Team to model UDI GHTF data elements
  Definitions
  Representation of Various Product combinations
  Identifying a Product without packaging
  Defining System requirements for UDID and internal FDA Product Information Database
  Accept , Store and Transmit HL7 SPL message

## Slide 26: GMDN
  Development of global nomenclature to support regulatory and research activities.
  Preferred terms provide high degree of specificity
  Used for signal detection and device comparisons during data surveillance and analyses
  New governance model and activities in place
  Sustainable funding model under development
  Used with UDI/UDID to provide multiple levels of use (general → specific)

## Slide 27: 4th – Adoption and Implementation
  • Facilitate distributor uptake and use
  Facilitate hospital uptake and use
  Facilitate use of UDI throughout device lifecycle
  Drive integration – MMIS-Clinical
  Drive appropriate use of UDI in EHRs – and use of EHRs for registries and other postmarket activities

## Slide 28: Limitations of UDI and UDID
UDI is a foundational element – it unambiguously identifies a specific device (at its unit of use).
Benefits accrue only if used by all stakeholders.
UDID contains only “static” identifying and product information.
UDID does NOT contain production information, such as lot or serial numbers – and is NOT track/trace or other similar purposes requiring the full UDI.
UDID provides link to product information- not a replacement for Recalls/Adverse Event Databases.

## Slide 29
Unique Device Identification
www.fda.gov/MedicalDevices/ DeviceRegulationandGuidance/ UniqueDeviceIdentifiers
Email: cdrhudi@fda.hhs.gov